| Reported by (Name): | Geoffrey S. Ibbott, Ph.D. |
| --- | --- |
| Organization: | International Electrotechnical Commission |
| Position Title: | Chairman, US Technical Advisory Group; Convenor, Working Group 1; Chairman, Subcommittee 62C |
| Activity: | Meeting of Working Group 1 |
| Meeting Dates: | June 7-9, 2011 |
| Meeting Location: | Stockholm, Sweden |
| Payment $: | See expense report |
| Reasons for Attending or not Attending | Attended as Convenor of Working Group 1 and as Chair of US Technical Advisory Group |
| Issues from Previous Meetings or Year: | See report below |
| General Description of Activities of the Organization and/or Meeting: | See report below |
| Issues for AAPM: | See report below |
| Budget Request ($): | See budget request |

INTERNATIONAL ELECTROTECHNICAL COMMISSION

TECHNICAL COMMITTEE TC 62: Electrical equipment in medical practice

SUBCOMMITTEE SC 62C: Equipment for radiotherapy, nuclear medicine and radiation dosimetry

WORKING GROUP WG 1: Beam teletherapy and particle accelerators

Place:	ELEKTA	Begin:	09:00, 2011-06-07

Kungstensgatan 18	End: 	14:00, 2011-06-09

SE - 103 93 STOCKHOLM,

Sweden

Minutes of the meeting in Stockholm

ATTENDANCE

Geoffrey Ibbott, US Convenor

Claus Hoeppner, DE, Secretary,

Caterina Brusasco, BE (Day 1)

Alan Cohen, US

Stephen Coon, US

Wilhelm Goldstein, DE

Gabrielle Suft, DE

Jürgen Heese, DE (Day 1 and Day 2)

Thomas Jakob, CH

Per Kjäll, SE

Inger-Lena Lamm, SE

Hans Sethi, UK

1	Opening of the meeting

The convenor, Geoffrey Ibbott, opened the meeting at 9 a.m. He welcomed all participants and thanked our local host, Per Kjäll, for his kind invitation and all arrangements for this meeting.

2	Approval of the agenda

The agenda has been approved.

3	60601-2-1 – Particular requirements for the basic

safety and essential performance of electron accelerators in the range 
	1 MeV to 50 MeV 
	Results of the Questionnaire to approve the generation of an amendment

Discussion of the proposed amendment and release to CDV

Discussion of further maintenance of this standard.

The positive response on the questionnaire regarding the preparation of an amendment were noted.  The amendment was prepared. Claus will send the final version to meeting attendees for a quick final review and will submit the CDV soon after circulation.

4	60601-2-8 – Particular requirements for the basic safety and essential performance of 	therapeutic X-ray equipment operating in the range 10 kV to 1 MV

Results of Questionnaire and proposed CDV for an amendment

The results of the questionnaire were discussed in detail. An amendment as per this questionnaire will be prepared. Geoff will contact the CEN consultant to prepare for a discussion during the next working group meeting in Nuremberg.

5	60601-2-11 – Part 2-11: Particular requirements for basic safety and essential 	performance of gamma beam therapy equipment

Discussion of revised draft based on comments received

Responses to comments were prepared and the document was released to FDIS. Per will send responses and last edits to Claus to further process.

6 	60601-2-17 – Particular requirements for basic safety and essential performance of 	automatically-controlled brachytherapy afterloading equipment

Discussion of draft after implementation of October changes.

Decision on release to FDIS

Responses to comments were completed and draft was released to FDIS. Geoff will send 	final version and responses to Claus to further process.

7	60601-2-64 – Medical Light Ion Beam Therapy Systems: Basic Safety

Discussion and internal review of Draft prepared by the working party at a face to face 	meeting in May.

A status summary of the project was given.  For detailed discussion the topics on online dose monitoring, motion related safety topics and stray radiation were suggested with results being implemented by the working party. Further work on the working draft is needed before it can be released as a CD. This work should be completed to allow for a release to CD during the next working group 1 meeting in September in Nuremberg.

8	IEC 62667, Ed. 1 (62C/477/NP)  Medical light ion beam equipment – Performance 	characteristics 
	Discussion of status and possibly proposal for an updated project plan

It was reconfirmed that the performance standard should follow the safety standard and an update of the project plan will be suggested for the subcommittee meeting in Nuremberg.

9	IEC 61217 – Radiotherapy equipment – Coordinates, movements and scales

FDIS is in preparation. Note of status.

CDV comments were incorporated and RVC published. Draft was sent to France to prepare translation.

10	60601-2-68 Particular requirements for basic safety and essential performance of X-	ray based Image guided radiotherapy equipment for use with electron accelerators, 	light ion beam therapy systems and radionuclide beam therapy systems.

Discussion of Draft circulated.

CD was circulated for NC comments. Comments shall be submitted as NC comments. This includes the topics of our working group discussion. The working party agreed to have a conference call after NC comments will have been received end of July to prepare the discussion about the comments.  A second CD is expected when also SC62B shall be involved.

11	IEC 60601-2-44 Amendment 1

Discussion of possible comments to CDV circulated by SC62B

All members were reminded that the CDV is open for comments and voting.

12	Discussion of possible liaison to a project at IEC SC 62A on Safety for medical 	devices using robotic technology

No detailed discussion. NP was accepted and first working group meeting is scheduled.

13	 Date and Place of Next Meeting

The next meeting is scheduled just before the TC 62 and SC62C subcommittee meeting in Nuremberg from September 19-21.  The IEC meeting registration system is open to register for this meeting. Details can be found under in the document 62/230A/AC.

The spring 2012 meeting was scheduled during the week of March 26, 2012 with Sunnyvale, CA being a suggested location. Details will be agreed in Nuremberg.

14	 Next TC 62 and SC62C Meeting

The invitation to this meeting and the agenda is attached to this document.

15	Any other business

It was noted that an amendment for the general standard IEC 60101-1 is in CDV stage with a voting period ending August 12.  (62A/748/CDV)

Geoffrey Ibbott					Claus Hoeppner

Convenor SC 62C WG1				Secretary SC 62C